**Impact of led lighting on Age 13-18 Science Lab**

For LED lighting standards specifically impacting a science lab environment for ages 13-18 in school, relevant parameters to consider include illuminance (lux), color temperature (CCT), glare control, color rendering index (CRI), and uniformity. While there is no single universal standard code explicitly titled for this exact scenario, typical guidelines are drawn from lighting standards used in educational settings and laboratory design, such as those from the Illuminating Engineering Society (IES), European EN standards, and national school lighting guidelines.

Here are the typical standard recommendations for LED lighting in school science labs (age group 13-18):

1. **Illuminance (Lux):**  
   For secondary school science labs, recommended illuminance is typically in the range of 300 to 750 lux on the working surfaces (lab benches and desks). A common reference point is around 500 lux for detailed lab tasks to ensure visibility and reduce eye strain.
2. **Color Temperature (CCT):**  
   A neutral to slightly cool white light is preferred to support alertness and visual clarity. Standards often recommend between 4000K to 5000K. Research indicates 6500K (daylight) can improve concentration and performance but may be less comfortable for general use, so 4000K-5000K is a balanced choice.
3. **Color Rendering Index (CRI):**  
   CRI of 80 or above is generally recommended for school labs to ensure accurate color perception, which is critical in scientific observation and experiments. Ideally, CRI >90 is preferred to better render colors and details, especially in detailed scientific work.
4. **Glare Control:**  
   Glare should be minimized through appropriate fixture design, shielding, and placement. LED luminaires used should have glare rating (UGR – Unified Glare Rating) below 19 for classrooms and labs to ensure comfort and avoid visual fatigue.
5. **Uniformity:**  
   Uniform lighting distribution is essential to avoid shadows and ensure consistent light levels. A uniformity ratio (minimum to average illuminance) of at least 0.7 is recommended in the workspace.

In summary, optimized LED lighting for age 13-18 science labs typically target approximately 500 lux illuminance, 4000-5000K correlated color temperature, CRI >80-90, glare controlled below UGR 19, and uniformity ratio of at least 0.7 for effective and comfortable visual performance.

These requirements align with recognized lighting standards such as EN 12464-1 (Light and Lighting - Lighting of Workplaces — Part 1: Indoor Workplaces), IES Recommended Practices for Educational Facilities, and relevant national school lighting codes.

| **Space** | **Recommended CCT** | **Lux Range** | **CRI** | **Glare (UGR)** | **Uniformity** |
| --- | --- | --- | --- | --- | --- |
| Science Lab | 4000K–6500K | 500–750 | ≥80 | ≤19 | ≥0.7 |

3. Effect of LED Lighting Based on Activities

| **Activity** | **Ideal LED Features** | **Recommended Lux** | **Notes** |
| --- | --- | --- | --- |
| **Science Labs** | 4000–5000K, strong task lighting | 750 lux | High visibility needed |